## Sheet1
| 2022/1 |  |  | 2022/2 |  |  | 2022/3 |  |  | 2022/4 |  |  | 2022/5 |  |  | 2022/6 |  |  | 2022/7 |  |  | 2022/8 |  |  | 2022/9 |  |  | 2022/10 |  |  | 2022/11 |  |  | 2022/12
| Supply Temperature | Return Temperature | Return Temperature Setpoint | Supply Temperature | Return Temperature | Return Temperature Setpoint | Supply Temperature | Return Temperature | Return Temperature Setpoint | Supply Temperature | Return Temperature | Return Temperature Setpoint | Supply Temperature | Return Temperature | Return Temperature Setpoint | Supply Temperature | Return Temperature | Return Temperature Setpoint | Supply Temperature | Return Temperature | Return Temperature Setpoint | Supply Temperature | Return Temperature | Return Temperature Setpoint | Supply Temperature | Return Temperature | Return Temperature Setpoint | Supply Temperature | Return Temperature | Return Temperature Setpoint | Supply Temperature | Return Temperature | Return Temperature Setpoint | Supply Temperature | Return Temperature | Return Temperature Setpoint
32F-01 | 19.893 | 20.4688 | 21.2354 | 21.2289 | 21.4734 | 22.7457 | 18.5648 | 20.2068 | 20.2675 | 19.9748 | 21.4783 | 22 | 19.0982 | 20.586 | 20.0253 | 20.2663 | 21.4596 | 20.8329 | 20.5049 | 21.9213 | 19.7046 | 19.8207 | 21.1115 | 20.3259 | 20.8104 | 21.9317 | 21.8048 | 19.6089 | 21.059 | 20.9073 | 20.7127 | 21.5874 | 21.9325 | 19.6527 | 20.3079 | 21
32F-02 | 16.7102 | 18.9006 | 21.2495 | 20.5962 | 19.5705 | 22 | 16.2335 | 20.0894 | 20.0988 | 17.1938 | 19.8103 | 20 | 15.8021 | 21.2539 | 20 | 16.1306 | 22.0901 | 20 | 15.7879 | 22.2911 | 20 | 16.0331 | 21.5376 | 20.7658 | 14.9838 | 21.8186 | 21 | 16.0872 | 20.8963 | 20.6321 | 17.1894 | 20.6118 | 21 | 18.1745 | 19.1586 | 21
ANNEX-1F-26 | 15.4419 | 18.0336 | 18 | N/A | N/A | N/A | 12.631 | 19.4051 | 18 | N/A | N/A | N/A | 12.3111 | 18.4318 | 18 | 11.8512 | 18.8928 | 17.7989 | 11.8849 | 18.8068 | 17.4279 | 13.1533 | 18.2591 | 18 | 13.5801 | 19.8292 | 19.2971 | 15.9503 | 20.2906 | 20.1327 | 14.5939 | 20.1793 | 19.6216 | 21.2692 | 19.4038 | 19.3938
Ballroom-MF-16 | 13.6369 | 20.8027 | 18.2549 | 15.4923 | 21.1723 | 21 | N/A | N/A | N/A | N/A | N/A | N/A | 12.6864 | 22.7168 | 20.0903 | 11.5991 | 21.9988 | 20.3832 | 12.4143 | 22.4176 | 20.6206 | 12.1048 | 22.6877 | 20 | 12.4701 | 22.3029 | 20.3034 | 12.8089 | 22.3942 | 20.3578 | 12.4076 | 21.9712 | 19.4956 | 12.8403 | 21.3125 | 18.4002
Ballroom-MF-17 | 15.8561 | 18.4223 | 18.2241 | N/A | N/A | N/A | 16.8217 | 20.296 | 20 | N/A | N/A | N/A | 19.0876 | 20.7068 | 20.5401 | 16.1842 | 19.6957 | 19.4882 | 15.7051 | 19.6862 | 19.2872 | 19.8718 | 20.3796 | 20 | 14.5592 | 19.4181 | 18.8647 | 14.8327 | 19.6292 | 19.1124 | 14.0132 | 18.8755 | 18.2314 | 15.7462 | 18.694 | 18.4953
Butchery-BF-31 | N/A | 16.6119 | 22 | N/A | 16.558 | 22 | N/A | 17.618 | 22 | N/A | 17.7028 | 22 | N/A | 19.1858 | 22 | N/A | 19.3389 | 22 | N/A | 19.7199 | 22 | N/A | 19.9114 | 22 | N/A | 20.3036 | 22 | N/A | 19.8591 | 22 | N/A | 20.0436 | 22 | N/A | 18.6977 | 22
C.Banquet-1F-24 | N/A | 17.769 | 22 | N/A | 15.984 | 21.9998 | N/A | 18.8819 | 22 | N/A | N/A | N/A | N/A | 21.6323 | 22 | N/A | 22.9297 | 22 | N/A | 22.9347 | 22 | N/A | 22.3316 | 22 | N/A | 23.2908 | 22 | N/A | 22.6469 | 22 | N/A | 21.9797 | 22 | N/A | 19.2615 | 22
CafeKitchen-1F-21 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OFF | OFF | OFF | OFF | OFF | OFF | OFF | OFF | OFF
CafeKitchen-1F-22 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OFF | OFF | OFF | N/A | N/A | N/A | OFF | OFF | OFF
CafeKitchen-1F-23 | N/A | 26.3951 | 22 | N/A | 23.8972 | 21.9998 | N/A | 26.8023 | 22 | N/A | N/A | N/A | N/A | 29.7408 | 22 | N/A | 31.0821 | 22 | N/A | 31.3223 | 22 | N/A | 30.584 | 22 | N/A | 32.1172 | 22 | N/A | 31.4747 | 22 | N/A | 31.201 | 22 | N/A | 28.2049 | 22
Champagne-1F-29 | 16.0301 | 20.2687 | 20.3529 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 13.4318 | 22.5298 | 20 | 14.3829 | 23.5378 | 20 | 14.2524 | 21.8577 | 20 | 14.4132 | 21.4415 | 20.45 | 13.8113 | 24.2557 | 19.1539 | 12.8442 | 23.4353 | 18.9701 | 13.5435 | 21.5013 | 19.9916 | 17.2188 | 21.5078 | 21.8985
Drawing Room-3F-06 | 15.7936 | 19.8499 | 19.4269 | 17.1302 | 19.3778 | 19.3844 | 16.4165 | 20.0896 | 20.0613 | N/A | N/A | N/A | 15.9074 | 20.3577 | 20.1599 | 14.0287 | 20.0495 | 19.2471 | 14.7982 | 20.3512 | 20.0219 | 15.0179 | 20.4456 | 20.2341 | 15.1875 | 20.9886 | 20.5622 | 14.7275 | 20.3353 | 19.6794 | 15.285 | 20.5498 | 19.6969 | 16.3843 | 20.3197 | 20.1551
Foyer-1F-28 | 20.4239 | 21.4475 | 21.5909 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 14.5038 | 21.7783 | 18.8218 | 14.4066 | 21.2878 | 19.1804 | 13.6616 | 21.4103 | 18.654 | 13.3725 | 21.0978 | 18 | 13.7996 | 22.1975 | 18.3742 | 14.553 | 21.4557 | 19.3301 | 13.7125 | 21.1014 | 19.6662 | 13.9042 | 20.5563 | 18.6831
FruitRm-BF-32 | N/A | 19.9438 | 22 | N/A | 18.993 | 22 | N/A | 20.3933 | 22 | N/A | 20.5373 | 22 | N/A | 22.2166 | 22 | N/A | 23.1073 | 22 | N/A | 23.3461 | 22 | N/A | 23.2145 | 22 | N/A | 24.2525 | 22 | N/A | 22.3398 | 22 | N/A | 22.1162 | 22 | N/A | 20.4339 | 22
Grand1&2-1F-27 | 11.7291 | 19.2353 | 18 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 11.5857 | 20.6616 | 18 | 11.8843 | 20.8294 | 18 | 12.3015 | 20.1969 | 18.364 | 15.4975 | 20.4103 | 20.3656 | 13.0856 | 21.6627 | 20.4257 | 12.5119 | 20.9054 | 20.1328 | 14.6166 | 20.7687 | 20.0384 | 17.8282 | 20.623 | 20.6969
Grand3&4-1F-25 | 14.2074 | 18.3208 | 18 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 13.5384 | 19.7872 | 18 | 14.0454 | 19.5316 | 17.8199 | 14.1904 | 19.6591 | 17.316 | 14.1414 | 18.7232 | 18 | 14.6877 | 20.4676 | 19.2901 | 15.8344 | 20.417 | 20.1327 | 16.5769 | 20.3071 | 19.8927 | 16.0254 | 19.1872 | 19.1071
Grissini-3F-08 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 18.5145 | 23.8373 | 18 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Grissini-3F-09 | 20.8454 | 21.2358 | 21.7051 | 20.2948 | 20.0406 | 23.1 | 18.7666 | 21.5471 | 21.7248 | N/A | N/A | N/A | 16.5109 | 22.0476 | 21.9122 | 16.1589 | 22.6986 | 22.5277 | 15.5613 | 22.4389 | 22.0982 | 14.2001 | 22.3642 | 21.6245 | 12.2863 | 22.2988 | 19.8287 | 14.271 | 21.701 | 20.5462 | 15.1526 | 20.9688 | 20.9237 | 20.1711 | 20.9037 | 22.4007
Grissini-3F-10 | 20.972 | 21.3605 | 21.5805 | 20.7151 | 20.2087 | 22.2329 | 20.4339 | 22.332 | 22.4517 | N/A | N/A | N/A | 17.5777 | 22.4525 | 21.7279 | 15.909 | 22.5977 | 20.2805 | 15.8742 | 22.8325 | 20.3438 | 15.7111 | 22.4928 | 18.6458 | 15.6823 | 22.8252 | 20.3513 | 16.8073 | 22.1016 | 21.5149 | 17.3615 | 21.4817 | 21.3115 | 20.2302 | 20.8615 | 21.5165
Kaetsu-MF-19 | N/A | 19.8711 | 19.6759 | N/A | 20.2624 | 20.1945 | N/A | 20.9003 | 20.9866 | N/A | N/A | N/A | N/A | 21.224 | 20.8162 | N/A | 21.993 | 21.6893 | N/A | 22.0361 | 21.6451 | N/A | 21.6388 | 20.8163 | N/A | 21.9411 | 20.4067 | N/A | 21.3243 | 20.4359 | N/A | 21.3483 | 20.5558 | N/A | 21.0971 | 20.4024
Library-MF-15 | 15.5485 | 19.5252 | 19.4158 | 19.2663 | 20.6463 | 20.9567 | N/A | N/A | N/A | N/A | N/A | N/A | 13.9108 | 20.4015 | 19.9245 | 13.111 | 18.6656 | 18.3085 | 12.8532 | 19.7639 | 18.9735 | 13.0732 | 20.4052 | 20 | 12.4914 | 20.7995 | 19.4112 | 14.7846 | 21.1935 | 20.4465 | 14.4191 | 20.4302 | 20.0544 | 16.2244 | 19.5309 | 19.5728
Lobby-MF-13 | 14.7335 | 20.1973 | 20 | 19.1706 | 19.7062 | 20 | 15.0026 | 20.7226 | 20 | N/A | N/A | N/A | 15.259 | 22.6847 | 20 | 15.7251 | 23.6096 | 20 | 15.1305 | 24.0479 | 20 | 14.3227 | 23.8007 | 20 | 14.7004 | 24.5462 | 20 | 14.5848 | 23.0238 | 20 | 14.8914 | 22.3267 | 20 | 18.5175 | 20.8355 | 20.887
Lobby-MF-14 | 17.2174 | 19.9745 | 20 | 19.7694 | 19.5161 | 20 | 14.2993 | 20.7204 | 20 | N/A | N/A | N/A | 13.4859 | 22.8352 | 20 | 13.7229 | 23.6971 | 20 | 13.4702 | 24.0811 | 20 | 13.4263 | 23.411 | 20 | 13.2355 | 23.871 | 20 | 13.4569 | 22.3892 | 20 | 14.0981 | 22.2487 | 20 | 20.077 | 20.6004 | 21.32
LowerCafe-1F-20 | 22.0808 | 20.4197 | 22.5307 | 21.5937 | 19.298 | 20 | 19.7978 | 20.9408 | 21.1335 | N/A | N/A | N/A | 15.7187 | 20.8458 | 20.2246 | 16.0471 | 21.7425 | 20.6431 | 14.9664 | 22.0288 | 19.9892 | 14.9269 | 21.5647 | 20 | 14.5508 | 21.6826 | 18.2216 | 20.6191 | 21.8405 | 21.871 | 22.2176 | 21.7964 | 22 | 23.3237 | 20.35 | 22
LowerOHR-8F-05 | 13.9574 | 21.7158 | 21.9252 | 22.2599 | 21.764 | 23.7137 | 21.0779 | 22.5024 | 18 | N/A | N/A | N/A | 12.318 | 22.7799 | 21.1254 | 12.0082 | 23.3341 | 20.8568 | 12.028 | 23.9367 | 21.2403 | 12.2088 | 23.7541 | 20.5451 | 11.8953 | 24.3386 | 18.0229 | 12.1704 | 23.3905 | 20.9982 | 12.8746 | 22.7755 | 22.5057 | 12.954 | 21.7558 | 22.163
Refuse-GF-30 | N/A | 22.8072 | 24 | N/A | 21.4097 | 24 | N/A | 23.3621 | 24 | N/A | 23.9336 | 24 | N/A | 24.1056 | 24 | N/A | 24.4575 | 24 | N/A | 24.8755 | 24 | N/A | 24.8111 | 24 | N/A | 25.3734 | 24 | N/A | 24.337 | 24 | N/A | 24.0693 | 24 | N/A | 22.7442 | 24
Salon Corridor-MF-18 | N/A | 20.1556 | 20 | N/A | 19.5433 | 20 | N/A | 20.5271 | 20 | N/A | N/A | N/A | N/A | 22.6553 | 20 | N/A | 23.2448 | 20 | N/A | 23.4335 | 20 | N/A | 23.1812 | 20 | N/A | 23.7805 | 20 | N/A | 22.8186 | 21.4191 | N/A | 22.2765 | 22 | N/A | 21.527 | 22
TIFFIN-3F-11 | 21.3254 | 21.9442 | 22.5526 | 21.1219 | 20.9633 | 22 | 18.9518 | 22.1659 | 22 | N/A | N/A | N/A | 17.2394 | 23.8522 | 20.805 | 17.5895 | 24.8203 | 20.0501 | 18.3008 | 25.3681 | 20.2428 | 18.1988 | 25.0364 | 18.0929 | 17.699 | 25.5226 | 19.2573 | 15.9711 | 23.739 | 20.1363 | 16.8359 | 23.0844 | 22.3303 | 20.9755 | 22.0957 | 22.654
TIFFIN-3F-12 | 20.828 | 22.6133 | 22.6852 | 20.1962 | 21.5026 | 22 | 17.382 | 22.8361 | 22 | N/A | N/A | N/A | 19.1897 | 24.6292 | 20.8564 | 20.7457 | 25.7845 | 20.3556 | 20.2965 | 26.2819 | 20.2461 | 19.834 | 25.9251 | 18.0939 | 19.507 | 26.4752 | 18.8247 | 17.6436 | 24.5784 | 20.1363 | 17.7989 | 23.8427 | 22.7422 | 20.9231 | 22.6992 | 22.8263
UpperCafe-3F-07 | 19.1246 | 21.163 | 20.9525 | 14.1515 | 19.6757 | 18.5659 | 16.2859 | 22.2113 | 21.6551 | N/A | N/A | N/A | 15.1717 | 21.9132 | 20 | 15.41 | 22.7077 | 20 | 15.1627 | 22.9637 | 20 | 15.2743 | 22.6456 | 20 | 14.835 | 22.6908 | 18.7934 | 14.9644 | 22.4164 | 21.6305 | 16.0496 | 22.3614 | 21.0961 | 14.9644 | 20.6762 | 20
UpperJJ-3F-SplitAHU | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
UpperOHR-U8F-03 | 29.9082 | 21.692 | 21.6305 | 40.7352 | 21.6069 | 21.8021 | 37.5364 | 21.5466 | 19.2878 | 52.6532 | 20.5674 | 20 | 26.4095 | 22.3516 | 20.4239 | 19.7634 | 22.8485 | 20.4111 | 16.2152 | 23.3196 | 20.5754 | 16.1038 | 23.0043 | 18 | 15.6402 | 23.242 | 18.0344 | 16.8463 | 22.6024 | 21.7364 | 18.0491 | 22.2259 | 21.7417 | 20.8601 | 21.8414 | 22.2188
UpperOHR-U8F-04 | 19.0944 | 21.2846 | 21.7375 | 19.2583 | 20.6575 | 21.8023 | 13.4665 | 20.8953 | 18.8944 | 11.9879 | 20.4937 | 18 | 13.7354 | 22.4251 | 20.8759 | 13.6131 | 22.9 | 20.4054 | 12.6365 | 23.3916 | 20.574 | 13.5577 | 23.1311 | 21.332 | 12.5316 | 23.4474 | 19.2901 | 13.2515 | 22.4149 | 21.5028 | 14.4281 | 21.8461 | 20.7784 | 18.1772 | 20.9394 | 21.2085